## Profiles (all sites) (hidden)
Taylor and Fraser Limited Form EF18 Rev 0
LEGISLATION REGISTER
Section | Chapter | Code | Title
Environmental | Pollution | 8011 | Environmental Permitting Regime / PPC
Environmental | Air | 8026 | Transport
Environmental | Water | 8032 | Water Supply
Environmental | Water | 8035 | Groundwater
Environmental | Water | 8036 | Oil Storage
Environmental | Waste | 8041 | Duty of Care
Environmental | Waste | 8042 | Hazardous Waste
Environmental | Waste | 8047 | Electronic / Electrical Equipment
Environmental | Hazards | 8061 | COSHH (Control Of Substances Hazardous to Health)
Environmental | Hazards | 8063 | Handling & Storage
Environmental | Nuisance | 8071 | Noise at Work
Environmental | Safety | 8101 | Fire Precautions
Environmental | Land | 8131 | Contaminated Land
Environmental | Standards | 8141 | ISO 14000 Series

## Legislation & Comments (all sit (hidden)
Taylor and Fraser Limited Form EF18 Rev 0
Section | Chapter | Code | Reference | Title | Traffic Light Status | Comment 1 | Comment 2
Environmental | Air | 8026 | AQ6 | The Road Vehicles (Construction and Use) Regulations 1986 (SI 1986/1078) as amended SI 1988/1524, SI 1990/1131, SI 1991/1526, SI 1992/2137, SI 1993/2199, SI 1994/2192, SI 1998/1563, SI 1999/1521, SI 1999/1959, SI 2000/1434, SI 2001/1825, SI 2000/3197, SI 2002/227, SI 2002/1474, SI 2006/1756, SI 2006/2656, SI 2007/1817, SI 2007/3132, SI 2008/1702, SI 2009/2196, SI 2009/1806, SI 2009/3221, SI 2010/312, SI 2010/964, SI 2011/427, SI 2012/1404 | Fully compliant with this law | Cstrain (08/03/2013): MOT CERTIFICATES AND SERVICE HISTORY | Cstrain (08/02/2013): does not apply
Environmental | Air | 8021,8521 | ATM40 | The Fluorinated Greenhouse Gases Regulations 2009 (SI 2009/261) | Fully compliant with this law | Cstrain (12/03/2013): Sub Contractors questionnaire F Gas certificate kept and updated on spreadsheet with sub contractors insurances
Environmental | Air | 8026 | SATM3 | The Road Traffic (Vehicle Emissions) (Fixed Penalty) (Scotland) Regulations 2003 (SI 2003/212)
Environmental | Hazards | 8561 | HAZ16 | The Health and Safety at Work etc. Act 1974 (Application to Environmentally Hazardous Substances) Regulations 2002 (SI 2002/282) as amended SI 2007/1332, SI 2009/318
Environmental | Hazards | 8067 | HAZ20 | The Control of Asbestos in the Air Regulations 1990 (SI 1990/556)
Environmental | Hazards | 8067 | HAZ32 | Control of Asbestos Regulations 2012 (SI 2012/632)
Section | Chapter | Code | Reference | Title | Traffic Light Status | Comment 1 | Comment 2
Environmental | Hazards | 8061 | HAZ2 | The Control of Substances Hazardous to Health (COSHH) Regulations 2002 (SI 2002/2677) as amended SI 2003/978, SI 2004/3386 | Fully compliant with this law | Cstrain (08/03/2013): RAMS AND COSHH ASSESSMENTS
Environmental | Land | 8131,8132 | LAN1 | Environmental Protection Act 1990 Part IIA
Environmental | Nuisance | 8081 | NUI1 | Environmental Protection Act 1990: Part III
Environmental | Nuisance | 8071 | NUI7 | The Noise Emission in the Environment by Equipment for Use Outdoors Regulations 2001 (SI 2001/1701), as amended SI 2001/3958, SI 2005/3525
Environmental | Planning / Wildlife | 8112,8114 | SPLA11 | The Building (Scotland) Regulations 2004 (SSI 2004/406) as amended SSI 2006/534, SSI 2010/32, SSI 2012/209
Environmental | Planning / Wildlife | 8111 | SPLA8 | The Building (Scotland) Amendment Regulations 2010 (SSI 2010/32)
Environmental | Pollution | 8012,8013 | IPC2.2 | Pollution Prevention and Control Act 1999 (c. 24) | Fully compliant with this law | Cstrain (08/03/2013): WASTE CARRIERS LICENCE
Environmental | Pollution | 8011,8012,8013 | SIPC1 | The Pollution Prevention and Control (Scotland) Regulations 2000 (SI 2000/323) as amended SI 2008/410, SSI 2009/336, SSI 2011/285
Environmental | Pollution | 8029 | SIPC3 | The Solvent Emissions (Scotland) Regulations 2010 (SSI 2010/236)
Environmental | Safety | 8071 | SAF2 | The Control of Noise at Work Regulations 2005 (SI 2005/1643)
Environmental | Safety | 8101 | SSAF1 | The Fire (Scotland) Act 2005 | Fully compliant with this law | Cstrain (08/03/2013): FIRE WARDEN DUTIES DETAILED | FIRE RISK ASSESSMENT CARRIED OUT, FIRE PLAN DETAILED & FIRE ALARM TEST CARRIED OUT MONTHLY
Section | Chapter | Code | Reference | Title | Traffic Light Status | Comment 1 | Comment 2
Environmental | Standards | 8141 | STA1 | BS EN ISO 14001
Environmental | Standards | 8141,8142,8143,8144,8145 | STA10 | The Accreditation Regulations 2009 (SI 2009/3155)
Environmental | Standards | 8142 | STA3 | Revisions to EMAS
Environmental | Standards | 8141 | STA4 | Changes to ISO 14001.
Environmental | Waste | 8042 | SWAS1 | The Special Waste Regulations 1996 (SI 1996/972) as amended SI 1996/2019, SI 1997/257, SI 2001/3148, SSI 2004/112, SSI 2004/204
Environmental | Waste |  | SWAS6 | The Waste Information (Scotland) Regulations 2010 (SSI 2010/435)
Environmental | Waste | 8041,8044 | SWAS7 | The Waste (Scotland) Regulations 2011 (SSI 2011/226) and 2012 (SSI 2012/148)
Environmental | Waste | 8041 | WAS1 | Environmental Protection Act 1990 (c. 43) Part II, section 34
Environmental | Waste | 8047 | WAS17 | The Waste Electrical and Electronic Equipment Regulations 2006 (SI 2006/3289) as amended SI 2009/2975, SI 2009/3216, SI 2010/1155 | Fully compliant with this law | Cstrain (08/03/2013): RECYCLED AND SENT TO A CHARITY
Environmental | Waste | 8041 | WAS2 | Environmental Protection (Duty of Care) Regulation 1991 (SI 1991/2839) as amended SI 2003/63
Environmental | Waste | 8041,8045 | WAS4 | Controlled Waste (Registration of Carriers and Seizure of Vehicles) Regulations 1991 (SI 1991/1624) | Fully compliant with this law | Cstrain (08/03/2013): WASTE CARRIERS LICENCE
Environmental | Water | 8032 | SWAT1 | Water (Scotland) Act 1980 Water Byelaws 2000 (Scotland) as amended 2004
Environmental | Water | 8031,8032 | SWAT12 | The Water Environment (Controlled Activities) (Scotland) Regulations 2011 (SSI 2011/209)
Environmental | Water | 8031,8035 | SWAT9 | The Sewerage (Scotland) Act 1968 Ch. 47
Section | Chapter | Code | Reference | Title | Traffic Light Status | Comment 1 | Comment 2
Environmental | Water | 8033 | SWAT2 | Water Industry (Scotland) Act 2002 as amended SSI 2010/95 |  | Cstrain (21/03/2013): Drain covers in place 100% biodegradable
Environmental | Water | 8036 | SWAT4 | The Water Environment (Oil Storage) (Scotland) Regulations 2006 (SSI 2006/133) | Fully compliant with this law | Cstrain (08/03/2013): OIL FUND BUND SEALED AND SECURE OIL DRUMS ON A BUNDED AREA

## Aspects (all sites)
Taylor & Fraser – Environmental Management System
Environmental Aspects Register | [5 empty] | Form No. SHWE F401 V 01
Score | Title | Description | Environmental impact | Control measures | Group | Relevant Legislation | Compliance score | Risk Rating | Risk of occurance
7 | emergency Underground Fuel Tank | Underground Fuel Tank | Pollution to Air and soil - Land contamination | Tanks are VacuTectested and fuel line tested every five years. Tanks will be dipped every six months to check fuel consumption is the same as what has been recorded. | Water/Land | SWAS10, LAN1, SWAT4, SWAT9, SWAT12 | 3 - Legislation applies - never exceeds statutory levels | 3 - Significant environmental impact | 1 - Very unlikely
7 | emergency Control of Special Waste | Site - Control of Special Waste | Pollution of air or Land - Injury to others | All sub contractors complete our questionnaire form and submit certificates. RAMS, Surveys and test certificates issued. | Air/Hazard | HAZ32, ATM40 | 3 - Legislation applies - never exceeds statutory levels | 3 - Significant environmental impact | 1 - Very unlikely
6 | abnormal Underground Fuel Tank | Underground Fuel Tank | Pollution to Air and soil - Land contamination | Tanks are VacuTectested and fuel line tested every five years. Tanks will be dipped every six months to check fuel consumption is the same as what has been recorded. | Water/Land | LAN1, SWAT4, SWAT9, SWAT12 | 3 - Legislation applies - never exceeds statutory levels | 2 - Noticable environmental impact | 1 - Very unlikely
6 | abnormal Control of Special Waste | Site - Control of Special Waste | Pollution of air or Land - Injury to others | All sub contractors complete our questionnaire form and submit certificates. RAMS, Surveys and test certificates issued. | Air/Hazard | HAZ32, ATM40 | 3 - Legislation applies - never exceeds statutory levels | 2 - Noticable environmental impact | 1 - Very unlikely
5 | normal Use of Water in amentities | Generation of water using toilets, basins and sinks | Water Quality, air Quality inc Odour | Valve controlled Urinals | Water | SWAT1, SWAT12 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
5 | normal Waste paper | Generation of Waste paper and cardboard | Reduction in Office General Waste - Landfill | Recycle | Waste | WAS1, SWAS10, LAN1 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
5 | normal Lighting and Electronic Equipment | Use of energy for lighting and electronic equipment | Resource Depletion Use of fossil fuels Air emissions |  | Waste | SWAS10, WAS17, ATM40 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
5 | normal Toner and Ink Cartridges | Toner and Ink Cartridges | Conservation of natural resources b | Recycle to a Charity | Waste | WAS17 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
5 | normal Use of Transport | Use of transport to deliver materials to site | Pollution of Air Ozone production - Smog |  | Air | SATM3 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
5 | normal Underground Fuel Tank | Underground Fuel Tank | Pollution to Air and soil - Land contamination | Tanks are VacuTectested and fuel line tested every five years. Tanks will be dipped every six months to check fuel consumption is the same as what has been recorded. | Water/Land | SWAS10, LAN1, SWAT4, SWAT9, SWAT12 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
5 | normal Glycol | Generation of Glycol | Pollution to Air - Land contamination | Stored correctly and COSHH assessment sheet | Air/Hazard | HAZ2 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
5 | abnormal Glycol | Generation of Glycol | Pollution to Air - Land contamination | Stored correctly and COSHH assessment sheet | Air/Hazard | HAZ2 | 3 - Legislation applies - never exceeds statutory levels | 2 - Noticable environmental impact | 1 - Very unlikely
5 | abnormal Cutting Oil | Generation of Cutting Oil | Contamination to the Land | Drip Trays and buckets used | Air/Hazard | HAZ2 | 3 - Legislation applies - never exceeds statutory levels | 2 - Noticable environmental impact | 1 - Very unlikely
4 | normal Fire | Fire, sabotage and other emergency situations | Risk of fire Pollution to the air - ozone Impacts noise Land & Sea | Fire Check, Fire Drills Tool box Talks | Air/Fire | LAN1, SSAF1 | 2 - Legislation pending | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Electronic Equipment | Electronic Equipment Computers, telephones and mobiles | Conservation of natural resources b | Recycle to a Charity organisation for recycling | Waste | WAS17 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Operation of Forklift | Operation of Forklift | Pollution of air ozone production - smog | Serviced and daily checks carried out | Air | AQ6, SATM3 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Control of Special Waste | Site - Control of Special Waste | Pollution of air or Land - Injury to others | All sub contractors complete our questionnaire form and submit certificates. RAMS, Surveys and test certificates issued. | Air/Hazard | HAZ32, ATM40 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Cutting Oil | Generation of Cutting Oil | Contamination to the Land | Drip Trays and buckets used | Air/Hazard | HAZ2 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Vehicle and Transport | Use of transport to deliver materials | Pollution of Air Ozone production - Smog | MOT and service carried out. Operations licence vehicle inspected by FTA every 6 weeks. | Air | AQ6 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Washing vehicles | Washing vehicles or | Pollution to watercourse, Land and Sea Contamination | Drain Covers in place Detergent is 100% biodegradable | Water | SWAT2, SWAT9 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Fluorescent Tubing | Fluorescent Tubing | Pollution to air and Water / Land and Sea contamination | Return to supplier who recycle or engage in the WEE system. | Waste | WAS17, SWAS7 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
2 | normal Consumption of Paper | Consumption of Paper | Water Land air Pollution - Landfill |  | Waste | WAS1, SWAS10, SWAS7 | 1 - No legislation applies | 1 - No/limited environmental impact | 1 - Very unlikely
2 | normal Young Persons | Young Persons |  | Supervised on site and induction |  |  | 1 - No legislation applies | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Storage of Gases | Storage of Gases | Pollution to the air - Ozone | Stored in a lockable cage strapped. No smoking sign on cage | Air | ATM40 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Gases | Gases | Pollution to the air - Ozone | Hot work Permit in place | Air | ATM40 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
4 | normal Asbestos Monitoring | Asbestos Monitoring | Pollution and contamination to the air and Water supply. Risk to Humans and animals | Weekly Asbestos monitoring takes place and recorded on monthly monitoring sheet. Asbestos survey has been carried out. | Hazard/Waste | HAZ32, SWAS1 | 3 - Legislation applies - never exceeds statutory levels | 1 - No/limited environmental impact | 1 - Very unlikely
Revision | Description | Reviewed by | Approved By | Date | Page
No: 01 | Updated Document | CS | SR | 09.07.2026 | 1 of 1
DOCUMENT REVISION HISTORY
Revision | Description | Reviewed by | Approved By | Date
5 | Document updated | CS | SMT | 2026-07-09